## Slide 1: Understanding ISO 17025
For Laser Power and Energy Measurement
Coherent Calibration Standards
ISO/IEC 17025:2005 Accreditation

## Slide 2: ISO 17025 Accreditation Benefits
Key advantages of ISO/IEC 17025 compliance:
  Highest calibration standards in the industry
  Direct traceability to NIST standards
  Enhanced customer confidence and reliability
  Regulatory compliance support for critical industries
  Uncertainty specifications with k=2 coverage factor

## Slide 3: Calibration Process Overview
Traceability chain ensures measurement accuracy:
  Golden Standard Sensors calibrated by NIST
  Working Standards calibrated against Golden Standards
  Production units calibrated against Working Standards
  Calibration uncertainty: 1% to 5% with k=2 coverage factor
  95% confidence interval for all measurements

## Slide 4: ISO 17025 Technical Requirements
Technical competency requirements include:
  Technically competent calibration staff
  Validated measurement methods and procedures
  Appropriate mathematical uncertainty calculations
  Traceable calibration path to national standards
  Compliant calibration certificates and documentation

## Slide 5: Accredited Product Portfolio
ISO 17025 accredited measurement systems:
  FieldMaxII-TOP Meter (Model: FM-TOP, Part: 1234567)
  PowerMax-USB Sensors (Model: PM-USB-VIS, Part: 7654321)
  LaserStar Power Meters (Model: LS-2000, Part: 9876543)
  EnergyMax-J Sensors (Model: EM-J10SI, Part: 5555555)

## Slide 6: Management System Requirements
ISO 17025 management requirements:
  Management of testing facilities and equipment
  Record keeping, data storage, and data handling
  Customer complaint handling procedures
  Corrective action implementation processes
  Regular audits and management reviews
Notes: These management requirements ensure that calibration laboratories maintain the highest standards of quality and traceability. Regular audits by accreditation bodies verify compliance with ISO 17025 standards.